## Sheet1
kode sl | deskripsi pekerjaan | satuan
RAN.0.I.1 | jasa Pemasangan kabel Feeder BTS 7/8" | meter
RAN.0.I.2 | jasa Pemasangan kable Feeder BTS 1 1/4" | meter
RAN.0.I.3 | jasa Pemasangan Kabel Feeder (<7/8") | meter
RAN.0.I.4 | jasa Pemasangan kabel Feeder (> 1 1/4") | meter
RAN.0.I.5 | jasa Pelepasan kabel Feeder BTS 7/8" | meter
RAN.0.I.6 | jasa Pelepasan kable Feeder BTS 1 1/4" | meter
RAN.0.I.7 | jasa Pelepasan Kabel Feeder (<7/8") | meter
RAN.0.I.8 | jasa Pelepasan Kabel Feeder (> 1 1/4") | meter
RAN.0.II.1 | jasa Survey Pemasangan Repeater | unit
RAN.0.II.2 | jasa Instalasi Repeater Outdoor | unit
RAN.0.II.3 | jasa Instalasi Repeater Indoor | unit
RAN.0.II.4 | jasa Dismantle Repeater Indoor | unit
RAN.0.II.5 | jasa Dismantle Repeater Outdoor | unit
RAN.0.III.1 | Jasa Pemasangan Rack BTS | Rak
RAN.0.III.2 | Jasa Pelepasan Rack BTS | Rak
RAN.0.III.3 | jasa penggantian kabel jumper outdoor | m
RAN.0.III.4 | jasa penggantian kabel jumper Indoor | m
RAN.0.III.5 | jasa Penggantian konektor feeder Feeder LDF Indoor | unit
RAN.0.III.6 | jasa Penggantian konektor feeder Feeder LDF Outdoor | unit
RAN.0.III.7 | Jasa Pemasangan Modul TRX | unit
RAN.0.III.8 | Jasa Pelepasan Modul TRX | unit
RAN.0.III.9 | Jasa Penggantian Modul TRX | unit
RAN.0.IV.1 | Jasa Orientasi dan/atau Tilting Antena BTS | unit
RAN.0.IV.2 | Jasa Pemasangan Antena Sectoral outdoor (termasuk Mounting, jika ada) | unit
RAN.0.IV.3 | Jasa Pemasangan Antena Omni outdoor | unit
RAN.0.IV.4 | Jasa Pemasangan Antena Omni Indoor | unit
RAN.0.IV.5 | Jasa Pelepasan Antena Sectoral outdoor (termasuk Mounting, jika ada) | unit
RAN.0.IV.6 | Jasa Pelepasan Antena Omni outdoor | unit
RAN.0.IV.7 | Jasa Pelepasan Antena Omni Indoor | unit
RAN.0.V.1 | jasa Pemasangan/Pelepasan Kabel Optik RRU | ls
RAN.0.V.2 | jasa Pemasangan/Pelepasan Kabel Power RRU | ls
RAN.0.V.3 | Jasa Pemasangan RRU (2G/3G) | unit
RAN.0.V.4 | Jasa Pelepasan RRU (2G/3G) | unit
RAN.0.VII.1 | Jasa Pengukuran dan Troubleshooting VSWR Indoor | Sector
RAN.0.VII.2 | Jasa Pengukuran dan Troubleshooting VSWR Outdoor | Sector
RAN.0.VII.3 | Jasa Pengukuran Power Meter BTS | Ls
RAN.0.VII.4 | Jasa Crossconenct PCMB ( BSC-BTS) | E1
RAN.0.VII.5 | jasa Penarikan kabel EAS / ENVA | E1
TRM.0.I.1 | Jasa Pemasangan Antena 1+0 <1.2 m | Hop
TRM.0.I.2 | Jasa Pemasangan Antena 1+0 >= 1.2 m | Hop
TRM.0.I.3 | Jasa Pemasangan Antena 1+1 <1.2 m | Hop
TRM.0.I.4 | Jasa Pemasangan Antena 1+1 >= 1.2 m | Hop
TRM.0.I.5 | Jasa Pemasangan Antena 1+1 (dua antena)<1.2 m | Hop
TRM.0.I.6 | Jasa Pemasangan Antena 1+1 (dua antena) >= 1.2 m | Hop
TRM.0.I.7 | Jasa Pelepasan Antena 1+0 <1.2 m | Hop
TRM.0.I.8 | Jasa pelepasanAntena 1+0 >= 1.2 m | Hop
TRM.0.I.9 | Jasa pelepasanAntena 1+1 <1.2 m | Hop
TRM.0.I.10 | Jasa pelepasanAntena 1+1 >= 1.2 m | Hop
TRM.0.I.11 | Jasa pelepasanAntena 1+1 (dua antena)<1.2 m | Hop
TRM.0.I.12 | Jasa pelepasan Antena 1+1 (dua antena) >= 1.2 m | Hop
TRM.0.I.13 | Jasa Pointing antena <1.2 m | Unit
TRM.0.I.14 | Jasa Pointing antena >=1.2 m | Unit
TRM.0.I.15 | Jasa Pemasangan dan/atau Pengencangan Fix Trut | ls
TRM.0.II.1 | Jasa Penggantian RAU | Unit
TRM.0.III.1 | Jasa Pemasangan Rak DDF Rak 19" | unit
TRM.0.III.2 | Jasa Pemasangan Rak DDF Rak 21" | unit
TRM.0.III.3 | Jasa Pembongkaran Rak DDF Rak 19" | unit
TRM.0.III.4 | Jasa Pembongkaran Rak DDF Rak 21" | unit
TRM.0.IV.1 | Jasa Pemasangan Kabel Coaxial | mtr
TRM.0.IV.2 | Jasa Pelepasan Kabel Coaxial | mtr
TRM.0.IV.3 | Jasa Pemasangan kabel tie coaxial | unit
TRM.0.V.1 | Jasa Jumper T-line Interkoneksi TTC/E1 (0-20m) 1-15 jumper DDF to DDF | Unit
TRM.0.V.2 | Jasa Jumper T-line Interkoneksi TTC/E1 (0-20m) >15 jumper DDF to DDF | Unit
TRM.0.V.3 | Jasa Jumper T-Line Interkoneksi TTC/ E1 (>20m) 1-15 jumper DDF to DDF | Unit
TRM.0.V.4 | Jasa Jumper T-Line Interkoneksi TTC/ E1 (>20m) >15 jumper DDF to DDF | Unit
TRM.0.V.5 | Jasa Pembongkaran Kabel T-Line | ls
TRM.0.VI.1 | Jasa Pengukuran BER Test (24 Jam) | Hop
TRM.0.VI.2 | Jasa Penarikan kabel per E1 | Meter
TRM.0.VI.3 | Jasa Penggantian Connector RF/waveguide | Unit
TRM.0.VI.4 | Jasa Commisioning MLE Per Site | Unit
TRM.0.VI.5 | Jasa Upgrade Kapasitas MLE Per Hop | Unit
TRM.0.VI.6 | Jasa Cross Connect Transmisi Per site | E1
TRM.0.VI.8 | Jasa Integrasi NCC MLE | ls
TRM.0.VI.9 | Jasa Integrasi ENVA/Housekeeping Alarm Transmisi | ls
TRM.1.VII.1 | Material Cable Coax RG8 | meter
TRM.1.VII.2 | Material Fixstrut dan clamp Galvanized 1" | set
TRM.1.VII.3 | kabel 2 Megabit 1 pair | m
TRM.1.VII.4 | kabel 2 Megabit 2 pair | m
TRM.1.VII.5 | kabel 2 Megabit 4 pair/ 6 pairs | m
TRM.1.VII.6 | kabel 2 Megabit 8 pair / 10 pair | m
TRM.1.VII.7 | kabel 2 Megabit 16 pair/20 pair | m
TRM.1.VII.8 | Material patchcore optic LC-LC 5 mtr | unit
TRM.1.VII.9 | Material patchcore optic LC-LC 10 mtr | unit
TRM.1.VII.10 | Material patchcore optic LC-LC 15 mtr | unit
TRM.1.VII.11 | Material patchcore optic LC-LC 20 mtr | unit
TRM.1.VII.12 | Material patchcore optic LC-LC 25 mtr | unit
TRM.1.VII.13 | Material patchcore optic LC-LC 30 mtr | unit
TRM.1.VII.14 | Material patchcore optic LC-FC 5 mtr | unit
TRM.1.VII.15 | Material patchcore optic LC-FC 10 mtr | unit
TRM.1.VII.16 | Material patchcore optic LC-FC 15 mtr | unit
TRM.1.VII.17 | Material patchcore optic LC-FC 20 mtr | unit
TRM.1.VII.18 | Material patchcore optic LC-FC 25 mtr | unit
TRM.1.VII.19 | Material patchcore optic LC-FC 30 mtr | unit
TRM.1.VII.20 | Material patchcore optic FC-FC 5 mtr | unit
TRM.1.VII.21 | Material patchcore optic FC-FC 10 mtr | unit
TRM.1.VII.22 | Material patchcore optic FC-FC 15 mtr | unit
TRM.1.VII.23 | Material patchcore optic FC-FC 20 mtr | unit
TRM.1.VII.24 | Material patchcore optic FC-FC 25 mtr | unit
TRM.1.VII.25 | Material patchcore optic FC-FC 30 mtr | unit
TRM.1.VII.26 | Material attenuator LC 5 dB | unit
TRM.1.VII.27 | Material attenuator LC 10 dB | unit
TRM.1.VII.28 | Material attenuator LC 20 dB | unit
TRM.1.VII.29 | Material attenuator FC 5 dB | unit
TRM.1.VII.30 | Material attenuator FC 10 dB | unit
TRM.1.VII.31 | Material attenuator FC 20 dB | unit
MEL.0.I.1 | Jasa pemasangan Indoor unit AC | unit
MEL.0.I.2 | Jasa pelepasan indoor unit AC | unit
MEL.0.I.3 | Jasa pemasangan outdoor unit AC | unit
MEL.0.I.4 | Jasa pelepasan outdoor unit AC | unit
MEL.0.I.5 | Jasa pemindahan Indoor unit AC | unit
MEL.0.I.6 | Jasa pemindahan Outdoor unit AC | unit
MEL.0.I.9 | Jasa Penggantian PCB AC Split | unit
MEL.0.I.15 | Jasa penggantian Exhaust Fan | unit
MEL.0.I.16 | Jasa Pemindahan Exhaust Fan | unit
MEL.0.I.17 | Jasa maintenance AC <=2.5 PK | unit
MEL.0.I.18 | Jasa maintenance AC >2.5 PK (AC 5 PK) | unit
MEL.0.II.1 | Jasa pemasangan rectifier | unit
MEL.0.II.2 | Jasa pelepasan rectifier | unit
MEL.0.II.3 | Jasa pemasangan kabel Power ≤ 70 mm | ls
MEL.0.II.4 | Jasa pemasangan kabel Power >70 mm | ls
MEL.0.II.5 | Jasa pemasangan kabel Power Tanah (tanam)≤ 70 mm | ls
MEL.0.II.6 | Jasa pemasangan kabel Power Tanah (tanam)> 70 mm | ls
MEL.0.II.7 | Jasa Pembongkaran kabel Power ≤ 70 mm | ls
MEL.0.II.8 | Jasa Pembongkaran kabel Power >70 mm | ls
MEL.0.II.9 | Jasa Pembongkaran kabel Power Tanah (tanam)≤ 70 mm | ls
MEL.0.II.10 | Jasa Pembongkaran kabel Power Tanah (tanam)> 70 mm | ls
MEL.0.II.11 | Jasa pemasangan Battery Kapasitas <=130 Ah | unit
MEL.0.II.12 | Jasa pemasangan Battery Kapasitas >130 Ah | unit
MEL.0.II.13 | Jasa pelepasan Bettery kapasitas <=130 Ah | unit
MEL.0.II.14 | Jasa pelepasan Battery kapasitas >130 Ah | unit
MEL.0.II.15 | Jasa pemasangan ACPDB komplit uk. 40 x 60 cm kap. 50 Amp ( wiring sesuai standar telkomsel ) | unit
MEL.0.II.16 | Jasa pemasangan DCPDB komplit ( wiring standar Telkomsel) | unit
MEL.0.II.17 | Jasa pelepasan ACPDB komplit uk. 40 x 60 cm kap. 50 Amp | unit
MEL.0.II.18 | Jasa pelepasan DCPDB komplit | unit
MEL.0.II.19 | Jasa pemasangan Inverter DC 48 volt to AC 220 Volt | unit
MEL.0.II.20 | Jasa pelepasan Inverter DC 48 volt to AC 220 Volt | unit
MEL.1.III.1 | Pengadaa AC & Material untuk semua type & merk | Set
MEL.1.III.16 | Material Kerangkeng AC <= 2,5 PK | pcs
MEL.1.III.17 | Material Kerangkeng AC > 2.5 PK | pcs
MEL.1.III.18 | Material Kerangkeng AC Ceiling Outdoor 5 PK | pcs
MEL.1.III.19 | Material Kerangkeng AC Standing Outdoor 5 PK | pcs
MEL.1.III.20 | Material Thermostart Honeywell T630 | unit
MEL.1.III.21 | Material Thermostart AC Indoor(Termistor) | pcs
MEL.1.III.22 | Material Thermostart AC Outdoor(Termistor) | pcs
MEL.1.III.23 | Material Bracket Outdoor AC /Dudukan Outdoor AC (untuk dipasang didinding) | unit
MEL.1.III.24 | Material Motor Blower (Fan Indoor) 1.5 Pk | Unit
MEL.1.III.25 | Material Motor Blower (Fan Indoor) 2 Pk | Unit
MEL.1.III.26 | Material Motor Blower (Fan Indoor) 2.5 Pk | Unit
MEL.1.III.27 | Material Exhaust Fan WIG 250HH | Unit
MEL.1.III.28 | Material Exhaust Fan Power House 20" Bahan Besi Merek GE | unit
MEL.1.III.29 | Material Panel control DC FAN | unit
MEL.1.III.30 | Material Box Fan (Cover outlet) Mild steel | unit
MEL.1.III.31 | Material Inlet Mild steel | unit
MEL.1.III.32 | Material Cover Inlet Mild steel | unit
MEL.1.III.33 | Material Box Panel 20 x 20 cm | unit
MEL.1.III.34 | Material Digital Control Temperatur | unit
MEL.1.III.35 | Material Terma fley 1/2 " | pcs
MEL.1.III.36 | Material Terma fley 1/4 " | pcs
MEL.1.III.37 | Material Terma fley 5/8 " | pcs
MEL.1.III.38 | Material Clamp | pcs
MEL.1.III.39 | Material Silicon | tube
MEL.1.III.40 | Material Nepel 5/8 " | pcs
MEL.1.III.41 | Material Nepel 1/4 " | pcs
MEL.1.III.42 | Material Nepel 1/2 " | pcs
MEL.1.III.43 | Material Rubber | kg
MEL.1.III.44 | Material Pipa PVC 1/2 " | btg
MEL.1.III.45 | Material Foto Cell | unit
MEL.1.III.46 | Material Arrester OBO V20C ( satuan ) | pcs
MEL.1.III.47 | Material Arrester OBO V25B ( satuan ) | pcs
MEL.1.III.48 | Material Arrester OBO MC 50-B TDE ( satuan ) | pcs
MEL.1.III.49 | Material Arrester OBO C25-B+C NPE/NETRAL ( satuan ) | pcs
MEL.1.III.50 | Material Arrester OBO V20/3+NPE (1 set = 4 unit) | set
MEL.1.III.51 | Material Arrester OBO V25 (1 set = 4 unit) | set
MEL.1.III.52 | Material Arrester Phoenix VAL-MS 230 ST ( fasa ) | pcs
MEL.1.III.53 | Material Arester Phoenix Contact Valvetrab VAL MS 230 ST ( Fasa ) | modul
MEL.1.III.54 | Material Arester Phoenix Contact Valvetrab F MS 12 ST ( Netral ) | modul
MEL.1.III.55 | Material Arester Phoenix Contact Valvetrab + Socket | set
MEL.1.III.56 | material Kabel Power NYFGBY 4 x 16 Supreme | meter
MEL.1.III.57 | material Kabel Power NYFGBY 4 x 25 Supreme | meter
MEL.1.III.58 | material Kabel Power NYFGBY 4 x 50 Supreme | meter
MEL.1.III.59 | material Kabel Power NYFGBY 4 x 70 Supreme | meter
MEL.1.III.60 | material Kabel Power NYFGBY 4 x 95 Supreme | meter
MEL.1.III.61 | material Kabel Power NYFGBY 4 x 120 Supreme | meter
MEL.1.III.62 | material Kabel Power NYY 2 x 1,5 Supreme | meter
MEL.1.III.63 | material Kabel Power NYY 2 x 2,5 Supreme | meter
MEL.1.III.64 | material Kabel Power NYY 3 x 1,5 Supreme | meter
MEL.1.III.65 | material Kabel Power NYY 3 x 2,5 Supreme | meter
MEL.1.III.66 | material Kabel Power NYY 4 x 16 Supreme | meter
MEL.1.III.67 | material kabel BCC 16 Supreme + Klem | m
MEL.1.III.68 | material kabel BCC 25 Supreme + Klem | m
MEL.1.III.69 | material kabel BCC 35 Supreme + Klem | m
MEL.1.III.70 | material kabel BCC 50 Supreme + Klem termasuk BC di las tembaga | m
MEL.1.III.71 | material Kabel Power NYAF 70 mm | meter
MEL.1.III.72 | material Kabel Power NYAF 50 mm | meter
MEL.1.III.73 | material Kabel Power NYAF 1 x 35 mm | meter
MEL.1.III.74 | material Kabel Power NYAF 1 x 25 mm | meter
MEL.1.III.75 | material Kabel Power NYAF 1 x 16 mm | meter
MEL.1.III.76 | material Kabel Power NYAF 6 mm | meter
MEL.1.III.77 | material Kabel Power NYAF 2.5 mm | meter
MEL.1.III.78 | material Kabel Power NYAF 1.5 mm | meter
MEL.1.III.79 | Material Kabel Power NYY 4 x 25 Supreme | meter
MEL.1.III.80 | Material Kabel Power NYAF 1 x 120 mm | meter
MEL.1.III.81 | Material Kabel Sling Alumunium 50 mm ( AAC / AAAC ) | meter
MEL.1.III.82 | Material Kabel BCC-50 mm | meter
MEL.1.III.83 | Material Kabel Alumunium A3C 50 mm | meter
MEL.1.III.84 | Material MCCB NS 100 M 3 Ph 20 A MG | pcs
MEL.1.III.85 | Material MCCB NS 100 M 3 Ph 25 A MG | pcs
MEL.1.III.86 | Material MCCB NS 100 M 3 Ph 32 A MG | pcs
MEL.1.III.87 | Material MCCB NS 100 M 3 Ph 40 A MG | pcs
MEL.1.III.88 | Material MCCB NS 100 M 3 Ph 50 A MG | pcs
MEL.1.III.89 | Material MCCB NS 100 M 3 Ph 60 A MG | pcs
MEL.1.III.90 | Material MCCB NS 100 M 3 Ph 100 A MG | pcs
MEL.1.III.91 | Material MCB 4 A, 1 Ph MG | pcs
MEL.1.III.92 | Material MCB 6 A, 1 Ph MG | pcs
MEL.1.III.93 | Material MCB 10 A, 1 Ph MG | pcs
MEL.1.III.94 | Material MCB 16 A, 1 Ph MG | pcs
MEL.1.III.95 | Material MCB 32 A, 1 Ph MG | pcs
MEL.1.III.96 | Material MCB 50 A, 1 Ph MG | pcs
MEL.1.III.97 | Material MCB 63 A, 1 Ph MG | pcs
MEL.1.III.98 | Material MCB Merlin Gerin 16 A 3p | pcs
MEL.1.III.99 | Material MCB Merlin Gerin 20 A 3p | pcs
MEL.1.III.100 | Material MCB Merlin Gerin 25 A 3p | pcs
MEL.1.III.101 | Material MCB Merlin Gerin 32 A 3p | pcs
MEL.1.III.102 | Material MCB Merlin Gerin 35 A 3p | pcs
MEL.1.III.103 | Material MCB Merlin Gerin 50 A 3p | pcs
MEL.1.III.104 | Material MCB Merlin Gerin 63 A 3p | pcs
MEL.1.III.105 | Material Skun 1mm | pcs
MEL.1.III.106 | Material Skun 1,5mm | pcs
MEL.1.III.107 | Material Skun 4 mm | pcs
MEL.1.III.108 | Material Skun 6 mm | pcs
MEL.1.III.109 | Material Skun 10 mm | pcs
MEL.1.III.110 | Material Skun 16 mm | pcs
MEL.1.III.111 | Material Skun 25 mm | pcs
MEL.1.III.112 | Material Skun 35 mm | pcs
MEL.1.III.113 | Material Skun 50mm | pcs
MEL.1.III.114 | Material Skun 70mm | pcs
MEL.1.III.115 | Material Skun jumper/join 70mm | pcs
MEL.1.III.116 | Material Kabel skun 120 mm2 | pcs
MEL.1.III.117 | Material Kabel skun 90 mm2 | pcs
MEL.1.III.118 | Material Terminal Plat Baja Galvanis 400 x 20 x 4 | unit
MEL.1.III.119 | Material Cooper Rod 5/8 | batang
MEL.1.III.120 | Material Cooper Plat di dalam Shelter | batang
MEL.1.III.121 | Material Pipa Besi 3/4 Galvanis | batang
MEL.1.III.122 | Material Cadweld Ulang | titik
MEL.1.III.123 | Material Sealant Container (Total termasuk FEP & FAN) merk : Eterniti / setara ( putih ) Tabung Besar 300ml | unit
MEL.1.III.124 | Material Busbar alumunium 0.8 cm x 10 cm x 30 cm ( jumlah hole 16 buah ) | buah
MEL.1.III.125 | Material Ringbar tembaga 0.3 cm x 4 cm | unit
MEL.1.III.126 | Material Busman Fustron FRS - R - 30 | unit
MEL.1.III.127 | Material Busman Fustron FRS - R - 100 | unit
MEL.1.III.128 | Material kabel ties 10 cm | pak
MEL.1.III.129 | Material kabel ties 20 cm | pak
MEL.1.III.130 | Material kabel ties 30 cm | pak
MEL.1.III.131 | Material Isolasi | roll
GEN.0.I.1 | Jasa Standby Genset Fixed <=20 KVA | Bulan
GEN.1.I.2 | Jasa Standby Genset Fixed >20 KVA | Bulan
GEN.2.I.3 | Jasa overtime Genset Fixed <=20 KVA | Jam
GEN.3.I.4 | Jasa overtime Genset Fixed > 20 KVA | Jam
GEN.4.I.5 | Jasa Sewa Genset Mobile <= 20 KVA | harian
GEN.5.I.6 | Jasa Sewa Genset Mobile > 20 KVA | harian
GEN.6.I.7 | Jasa Pekerjaan Overhaul Genset 20 KVA | ls
GEN.7.I.8 | Jasa Pekerjaan Overhaul Genset 40-50 KVA | ls
GEN.8.I.9 | Jasa Pengelasan radiator genset | ls
GEN.9.I.10 | Jasa Pengelasan knalpot genset | ls
GEN.10.I.11 | Jasa Kalibrasi injection pump genset | pcs
GEN.11.I.12 | Jasa mobilisasi SCD mobile lintas cluster (<=3 hari ) | harian
GEN.12.I.13 | Jasa mobilisasi SCD mobile lintas cluster (> 3 hari) | harian
GEN.13.I.14 | Dismantling Genset unit to workshop | ls
GEN.13.I.15 | Atomizers | ls
GEN.1.II.1 | Material oil engine | liter
GEN.1.II.2 | Material filter oil genset <= 20 KVA | pcs
GEN.1.II.3 | Material filter oil genset 40 - 75 KVA | pcs
GEN.1.II.4 | Material filter oil genset > 75 KVA | pcs
GEN.1.II.5 | Material filter solar genset <= 20 KVA | pcs
GEN.1.II.6 | Material filter solar genset 40 - 75 KVA | pcs
GEN.1.II.7 | Material filter solar genset > 75 KVA | pcs
GEN.1.II.8 | Material filter udara genset <= 20 KVA | pcs
GEN.1.II.9 | Material filter udara genset 40 - 75 KVA | pcs
GEN.1.II.10 | Material filter udara genset > 75 KVA | pcs
GEN.1.II.11 | Material fan belt genset <= 20 KVA | pcs
GEN.1.II.12 | Material fan belt genset 40 - 75 KVA | pcs
GEN.1.II.13 | Material fan belt genset > 75 KVA | pcs
GEN.1.II.14 | Material Mounting Radiator/Engine/Alternator Genset | pcs
GEN.1.II.15 | Material ducting radiator /cooler | unit
GEN.1.II.16 | Material cooler / radiator genset <= 20 KVA | pcs
GEN.1.II.17 | Material cooler / radiator genset 40 - 75 KVA | pcs
GEN.1.II.18 | Material cooler / radiator genset > 75 KVA | pcs
GEN.1.II.19 | Material FAN cooler / radiator genset <= 20 KVA | pcs
GEN.1.II.20 | Material FAN cooler / radiator genset 40 - 75 KVA | pcs
GEN.1.II.21 | Material FAN cooler / radiator genset > 75 KVA | pcs
GEN.1.II.22 | Material motor starter genset <= 20 KVA | pcs
GEN.1.II.23 | Material motor starter genset 40 - 75 KVA | pcs
GEN.1.II.24 | Material motor starter genset > 75 KVA | pcs
GEN.1.II.25 | Material Solenoid Start/Stop genset <= 20 KVA | pcs
GEN.1.II.26 | Material Solenoid Start/Stop genset 40 - 75 KVA | pcs
GEN.1.II.27 | Material Solenoid Start/Stop genset > 75 KVA | pcs
GEN.1.II.28 | Material sensor/switch oil pressure genset <= 20 KVA | pcs
GEN.1.II.29 | Material sensor/switch oil pressure genset 40 - 75 KVA | pcs
GEN.1.II.30 | Material sensor/switch oil pressure genset > 75 KVA | pcs
GEN.1.II.31 | Material sensor/switch temperature genset <= 20 KVA | pcs
GEN.1.II.32 | Material sensor/switch temperature genset 40 - 75 KVA | pcs
GEN.1.II.33 | Material sensor/switch temperature genset > 75 KVA | pcs
GEN.1.II.34 | Material Relay oil pressure genset <= 20 KVA | pcs
GEN.1.II.35 | Material Relay oil pressure genset 40 - 75 KVA | pcs
GEN.1.II.36 | Material Relay oil pressure genset > 75 KVA | pcs
GEN.1.II.37 | Material engine module control genset <= 20 kVA | pcs
GEN.1.II.38 | Material engine module control genset 40 - 75 kVA | pcs
GEN.1.II.39 | Material engine module control genset > 75 kVA | pcs
GEN.1.II.40 | Material AVR genset <= 20 kVA | pcs
GEN.1.II.41 | Material AVR genset 40 - 75 kVA | pcs
GEN.1.II.42 | Material AVR genset > 75 kVA | pcs
GEN.1.II.43 | Material oil pump all type | pcs
GEN.1.II.44 | Material Nozzle genset <= 20 kVA | pcs
GEN.1.II.45 | Material Nozzle genset 40 - 75 kVA | pcs
GEN.1.II.46 | Material Nozzle genset > 75 kVA | pcs
GEN.1.II.47 | Material rubber hose all type genset | mtr
GEN.1.II.48 | Material dinamo/alternator charger ( regulator ) genset <=20 kVA | pcs
GEN.1.II.49 | Material dinamo/alternator charger ( regulator ) genset 40 - 75 kVA | pcs
GEN.1.II.50 | Material dinamo/alternator charger ( regulator ) genset > 75 kVA | pcs
GEN.1.II.51 | Material Thermostat genset <= 20 kVA | pcs
GEN.1.II.52 | Material Thermostat genset 40 - 75 kVA | pcs
GEN.1.II.53 | Material Thermostat genset > 75 kVA | pcs
GEN.1.II.54 | Material Timing Belt genset <= 20 kVA | pcs
GEN.1.II.55 | Material Timing Belt genset 40 - 75 kVA | pcs
GEN.1.II.56 | Material Timing Belt genset > 75 kVA | pcs
GEN.1.II.57 | Material MPU (Magnetic Pick up) / Relay Control Unit genset <= 20 kVA | pcs
GEN.1.II.58 | Material MPU (Magnetic Pick up) / Relay Control Unit genset 40 - 75 kVA | pcs
GEN.1.II.59 | Material MPU (Magnetic Pick up) / Relay Control Unit genset > 75 kVA | pcs
GEN.1.II.60 | Material Brush Holder generator genset <= 20 kVA | pcs
GEN.1.II.61 | Material Brush Holder generator genset 40 - 75 kVA | pcs
GEN.1.II.62 | Material Brush Holder generator genset > 75 kVA | pcs
GEN.1.II.63 | Material fan cooler/radiator genset <= 20 kVA | unit
GEN.1.II.64 | Material fan cooler/radiator genset 40 - 75 kVA | unit
GEN.1.II.65 | Material fan cooler/radiator genset > 75 kVA | unit
GEN.1.II.66 | Material priming pump genset <= 20 kVA | pcs
GEN.1.II.67 | Material priming pump genset 40 - 75 kVA | pcs
GEN.1.II.68 | Material priming pump genset >75 kVA | pcs
GEN.1.II.69 | Material Fuel Injection Pump genset <= 20 kVA | pcs
GEN.1.II.70 | Material Fuel Injection Pump genset 40 - 75 kVA | pcs
GEN.1.II.71 | Material Fuel Injection Pump genset > 75 kVA | pcs
GEN.1.II.72 | Material Water Pump Assy genset <= 20 kVA | pcs
GEN.1.II.73 | Material Water Pump Assy genset 40 - 75 kVA | pcs
GEN.1.II.74 | Material Water Pump Assy genset > 75 kVA | pcs
GEN.1.II.75 | Material Kit Diode generator genset <= 20 kVA | pcs
GEN.1.II.76 | Material Kit Diode generator genset 40 - 75 kVA | pcs
GEN.1.II.77 | Material Kit Diode generator genset > 75 kVA | pcs
GEN.1.II.78 | Material Switch Start genset | unit
GEN.1.II.79 | Material Alternator Assy genset <= 20 kVA | unit
GEN.1.II.80 | Material Alternator Assy genset 40 - 75 kVA | unit
GEN.1.II.81 | Material Alternator Assy genset > 75 kVA | unit
GEN.1.II.82 | Material Hose Water Cooling genset <= 20 kVA | pcs
GEN.1.II.83 | Material Hose Water Cooling genset 40 - 75 kVA | pcs
GEN.1.II.84 | Material Hose Water Cooling genset > 75 kVA | pcs
GEN.1.II.85 | Material Lubricant Oil Line Atas/Bawah Genset <= 20 kVA | pcs
GEN.1.II.86 | Material Lubricant Oil Line Atas/Bawah Genset 40 - 75 kVA | pcs
GEN.1.II.87 | Material Lubricant Oil Line Atas/Bawah Genset > 75 kVA | pcs
GEN.1.II.88 | Material Modifikasi mounting + fan guard genset | unit
GEN.1.II.89 | Material Module controller Woodward Easy-Gen 320 | unit
GEN.1.II.90 | Material Module controller Woodward Easy-Gen 1000/1500 | unit
GEN.1.II.91 | Material Module controller DeepSea 7320 | unit
GEN.1.II.92 | Material Module controller DeepSea 5220 | unit
GEN.1.II.93 | Material Module controller DeepSea 3110 | unit
GEN.1.II.94 | Material Module controller Himoinsa | unit
GEN.1.II.95 | Material Module controller DEC 1000 | unit
GEN.1.II.96 | Material Module controller ASCO Series 386 | unit
GEN.1.II.97 | Material Module controller CoMap | unit
GEN.1.II.98 | Material Module controller PowerWizard Olympian Series 1 | unit
GEN.1.II.99 | Material Module controller PowerWizard Olympian Series 2 | unit
GEN.1.II.100 | Material Change Over Switch (COS) TAKADA 60 Amp | unit
GEN.1.II.101 | Material Change Over Switch (COS) TAKADA 100 Amp | unit
GEN.1.II.102 | Material Change Over Switch (COS) Kyoritsu 60 Amp | unit
GEN.1.II.103 | Material Change Over Switch (COS) Kyoritsu 100 Amp | unit
GEN.1.II.104 | Material Change Over Switch (COS) Asco 60 Amp | unit
GEN.1.II.105 | Material Change Over Switch (COS) Asco 100 Amp | unit
GEN.1.II.106 | Material Pemasangan Socket Genset Legrant 4P (Female/Male) | unit
GEN.1.II.107 | Material Penggantian Gasket Cylinder Head All Type | unit
GEN.1.II.108 | Material Belitan Alternator/Dinamo Charger | KVA
GEN.1.II.109 | Material Belitan Motor Stater | unit
GEN.1.II.110 | Material Belitan Selenoid | unit
GEN.1.II.111 | Material Belitan COS Takada/Kyoritsu | unit
GEN.1.II.112 | Material water separator RACOR Full Set | buah
GEN.1.II.113 | Material element filter water separator | buah
GEN.1.II.114 | Material Penggantian Flexible exhaust pipe (knalpot) | ls
GEN.1.II.115 | Material fuel transfer pump | unit
GEN.1.II.116 | Material Battery Stater Basah battery starter 70 AH | blok
GEN.1.II.117 | Material Battery Stater Basah battery starter 100 AH | blok
GEN.1.II.118 | Material Battery Stater Basah battery starter 200 AH | blok
GEN.1.II.119 | Material Battery Stater Kering battery starter 70 AH | blok
GEN.1.II.120 | Material Battery Stater Kering battery starter 100 AH | blok
GEN.1.II.121 | Material Battery Stater Kering battery starter 200 AH | blok
GEN.1.II.122 | Material Terminal Accu/Battery
GEN.1.II.123 | Material Air/Coolant Radiator | liter
GEN.1.II.124 | Material air accu/battery | liter
GEN.1.II.125 | Material Fuse Control Kap. 2 - 20 A | buah
GEN.1.II.126 | Material Timer Omron H3CR - A8 12 VDC/230 VAC | buah
GEN.1.II.127 | Material Timer Omron H3CA - A 12 VDC/230 VAC | buah
GEN.1.II.128 | Material Pilot Lamp Telemecanique 220 VAC (Merah/Hijau/Kuning) | buah
GEN.1.II.129 | Material Current Transfomator 100/5 A | buah
GEN.1.II.130 | Material Push Button START/STOP/EMERGENCY STOP | buah
GEN.1.II.131 | Material Selang Indikator BBM / Material Kaca | m
GEN.1.II.132 | Material Selang Indikator BBM / selang Plastik Transparan | m
GEN.1.II.133 | Material Battery Charger BAE/LOVATO 12-24 VDC, Kap. 6 - 12 A | pcs
GEN.1.II.134 | Material Battery Charger BAE/LOVATO 12-24 VDC, Kap. > 12 A | pcs
GEN.1.II.135 | Ring Set | set
GEN.1.II.136 | Main & Big end Bearings | set
GEN.1.II.137 | Front Oil Seal | set
GEN.1.II.138 | Rear Oil Seal | set
GEN.1.II.139 | Gaskets Kit | set
GEN.1.II.140 | Valves Kit | set
GEN.1.II.141 | Guides Kit | set
GEN.1.II.142 | Seats Kit | set
GEN.1.II.143 | Seals Kit | set
GEN.1.II.144 | Sleeves Kit | set
GEN.1.II.145 | Sleeve Rings Kit | set
GEN.1.II.146 | Metal set | set
GEN.1.II.147 | Hose Set | set
GEN.1.II.148 | Piston Set (if required) | set
GEN.1.II.149 | Push Rod (if required) | set
GEN.1.II.150 | Connecting Rod Bushes (if required) | set
GEN.1.II.151 | Cam Shaft Bushes (if required) | set
GEN.1.II.152 | Rewinding Generator (if required) | set
GEN.1.II.153 | Fuel Pump (if required) | set
ATS.1.II.1 | Material ATS Komplet | unit
ATS.1.II.2 | Material Penggantian PCB ATS PCB Relay ATS | unit
ATS.1.II.3 | Material Penggantian PCB ATS PCB Varistor/Sensing Protection | unit
ATS.1.II.4 | Material Penggantian PCB ATS PCB DDF | unit
ATS.1.II.5 | Material Potensiometer | pcs
ATS.1.II.6 | Material Terminal Block (TR60) | pcs
ATS.1.II.7 | Material Terminal Block 2.5mm | pcs
ATS.1.II.8 | Material Terminal Block 4mm | pcs
ATS.1.II.9 | Material Terminal Block 16mm | pcs
ATS.1.II.10 | Material Cable Duct 45x65 | pcs
ATS.1.II.11 | Material Cable Duct 32x65 | pcs
ATS.1.II.12 | Material Ampere-meter DC | pcs
ATS.1.II.13 | Material Frequency-meter | pcs
ATS.1.II.14 | Material Volt-meter AC | pcs
ATS.1.II.15 | Material Volt-meter DC | pcs
ATS.1.II.16 | Material Relay Under Upper Voltage | pcs
ATS.1.II.17 | Material Ampere-meter AC | pcs
ATS.1.II.18 | Material Hourmeter | pcs
ATS.1.II.19 | Material Selector Switch 0 - I, 2P, Krauss & Naimer | pcs
ATS.1.II.20 | Material Speed Adjuster Switch | pcs
ATS.1.II.21 | Material Alarm / Horn | pcs
ATS.1.II.22 | Material Relay MK-28 Omron | pcs
ATS.1.II.23 | Material Relay LY2 12 VDC/230 VAC Omron | pcs
ATS.1.II.24 | Material Relay LY4 12 VDC/230 VAC Omron | pcs
ATS.1.II.25 | Material Relay MY4 12 VDC/230 VAC Omron | pcs
OTH.0.I.1 | Jasa Transportasi Tim corrective on site support (air dan udara) (Nilai < 1jt) | %
OTH.0.I.2 | Jasa Transportasi Tim corrective on site support (air dan udara) (Nilai >= 1jt sd < 5 jt) | %
OTH.0.I.3 | Jasa Transportasi Tim corrective on site support (air dan udara) (Nilai >= 5jt) | %
OTH.0.I.4 | Jasa Fee Pembayaran Donasi, permasalahan warga, Regulasi, PBB, Pembayaran Insidentil ( (Nilai < 1jt) | %
OTH.0.I.5 | Jasa Fee Pembayaran Donasi, permasalahan warga, Regulasi, PBB, Pembayaran Insidentil (Nilai >= 1jt sd < 5 jt) | %
OTH.0.I.6 | Jasa Fee Pembayaran Donasi, permasalahan warga, Regulasi, PBB, Pembayaran Insidentil (Nilai >= 5jt) | %
OTH.1.II.4 | Material Tiang Besi 9 M | btg
OTH.1.II.5 | Material Tiang Besi 11 M | btg
OTH.1.II.6 | Material Kawat A3CS 70 mm | meter
OTH.1.II.7 | Material Isolator Tumpu 20 kV | unit
OTH.1.II.8 | Material Isolator Tarik 20 Kv | unit
OTH.1.II.9 | Material Fuse Cut Out 24 kV,10 kA | unit
OTH.1.II.10 | Material lightning Arester 20 kV -5 kA | unit
OTH.1.II.11 | Material Kabel TR 4x95 mm2 u/ Incoming trafo | meter
OTH.1.II.12 | Material Kabel TR 4x70 mm2 u/ Outgoing trafo | meter
OTH.1.II.13 | Material Travers 2 mtr-UNP 8,10-5 mm | unit
OTH.1.II.14 | Material Travers 2,4 mtr-UNP 8,10-5 mm | unit
OTH.1.II.15 | Material U bolt | unit
OTH.1.II.16 | Material Double Arm Bolt M16-350 | unit
OTH.1.II.17 | Material Arm Band Type 1 | unit
OTH.1.II.18 | Material Brace besi L 50x50x5x1000+bolt 16-350 | unit
OTH.1.II.19 | Material Klem Paralel groove al 35-70 mm2 | unit
OTH.1.II.20 | Material Tap connector 35-070/35-70 mm2 | unit
OTH.1.II.21 | Material dudukan trafo 25 KVA komplit | unit
OTH.1.II.21 | Material dudukan trafo 50 KVA komplit | unit
OTH.1.II.21 | Panel Distribusi / pembagi dari Trafo | unit
OTH.1.II.22 | Material Papan hubung bagi TR 2 group | unit
OTH.1.II.23 | Material Pipa PVC AW 3-6 m u/ incoming +elbow | unit
OTH.1.II.24 | Material Pipa PVC AW 2-6 m u/ outgoing +elbow | unit
OTH.1.II.25 | Material Pengangan pipa UNP 8-5 mm beugel + U bolt | unit
OTH.1.II.26 | Material Papan tanda kilat kecil 20 kV | unit
OTH.1.II.27 | Material Penghalang panjat | unit
OTH.1.II.28 | Material Pengecatan tiang | unit
OTH.1.II.29 | Material KWh meter | unit